

DECLARATION OF PERFORMANCE (DoP)

*In accordance with the EU Construction Products Regulation (No. 305/2011)*

**DoP No**.: **AVF-Radiators-DOP-16DZA09177**

1. Product identification code: As required under Article 6(2a)

**Please see attached list in Table A**

1. Product-Type, batch or serial number or any other element allowing identification of the construction product as required under Article 11(4):

**Radiators**

1. Intended use:

**In heating systems in buildings**

1. Manufacturer:

**Name : Avonflow Sanitary Products Ltd.**

**Address: West of Qiliu Road , Shangrao Economic Development Zone ,Jiangxi, China**

1. Authorised representative:

**N/A**

1. System or systems of assessment and verification of constancy of performance (AVCP) of the construction product as set out in Construction Products Regulation (EU) 305/2011, Annex V:

**System 3**

1. In case of the declaration of performance concerning a construction product covered by a harmonised standard:

**BS EN 442:2014**

1. European Technical Assessment (ETA):

**N/A**



1. Declared Performance:

|  |  |  |
| --- | --- | --- |
| ***Essential characteristics*** | ***Performance*** | ***Harmonised standard*** |
| Reaction to Fire | A1 |  |
| Release of dangerous substances | NONE | BS EN 442 – 1: 2014  BS EN 442 - 2: 2014 |
| Pressure tightness | No leakage at 1.3 x maximum operating pressure (kPa) |
| Resistance to Pressure | No breakage at 1.69 x maximum operating pressure (kPa)  Maximum operating pressure: See Table A |
| Rated Thermal Outputs | See Table A |
| Thermal output in different operating conditions | *Φ* = 8.70 x *ΔT*1.29 |
| Durability as: | |
| Resistance against corrosion: | PASS |

1. Declaration:

* **The performance of the product identified in points 1 and 2 is in conformity with the declared performance in point 9.**

This declaration of performance is issued under the sole responsibility of the manufacturer identified in point 4.

Signed for and on behalf of the manufacturer by:

|  |  |
| --- | --- |
| Nicole Xuan | Sales |
| (Name) | (Function) |
|  |  |
| 30-September-2016 |  |
| (Date of issue) 30-September-2016 | (Signature) |



|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Table A** | | | | | |
| **Customer code** | **Vendor code** | **Description** | **Finishing** | **Maximum operating pressure**（MPa) | **Rated Thermal**  **Outputs** △**50**℃（W） |
| 102RF-600-6-SA | CAP13GC261\_A | Radiator 410 W x 600 H Anthracite | Anthracite | 0.3 | 298 |
| 102RF-600-6-SW | CAP13GC230\_A | Radiator 410 W x 600 H White | White | 0.3 | 298 |
| 102RF-600-6-SB | CAP13GC291\_A | Radiator 410 W x 600 H Black | Black | 0.3 | 298 |
| 102RF-600-6-SC | CAG13GA067\_A | Radiator 410 W x 600 H Chrome | Chrome | 0.3 | 235 |
| 102RF-600-9-SA | CAP13GC262\_A | Radiator 614 W x 600 H Anthracite | Anthracite | 0.3 | 447 |
| 102RF-600-9-SW | CAP13GC231\_A | Radiator 614 W x 600 H White | White | 0.3 | 447 |
| 102RF-600-9-SB | CAP13GC292\_A | Radiator 614 W x 600 H Black | Black | 0.3 | 447 |
| 102RF-600-9-SC | CAG13GA068\_A | Radiator 614 W x 600 H Chrome | Chrome | 0.3 | 353 |
| 102RF-600-11-SA | CAP13GC263\_A | Radiator 750 W x 600 H Anthracite | Anthracite | 0.3 | 546 |
| 102RF-600-11-SW | CAP13GC232\_A | Radiator 750 W x 600 H White | White | 0.3 | 546 |
| 102RF-600-11-SB | CAP13GC293\_A | Radiator 750 W x 600 H Black | Black | 0.3 | 546 |
| 102RF-600-11-SC | CAG13GA069\_A | Radiator 750 W x 600 H Chrome | Chrome | 0.3 | 431 |
| 102RF-600-13-SA | CAP13GC264\_A | Radiator 866 W x 600 H Anthracite | Anthracite | 0.3 | 645 |
| 102RF-600-13-SW | CAP13GC233\_A | Radiator 866 W x 600 H White | White | 0.3 | 645 |
| 102RF-600-13-SB | CAP13GC294\_A | Radiator 866 W x 600 H Black | Black | 0.3 | 645 |
| 102RF-600-13-SC | CAG13GA070\_A | Radiator 866 W x 600 H Chrome | Chrome | 0.3 | 510 |
| 102RF-600-15-SA | CAP13GC265\_A | Radiator 1022 W x 600 H Anthracite | Anthracite | 0.3 | 744 |
| 102RF-600-15-SW | CAP13GC234\_A | Radiator 1022 W x 600 H White | White | 0.3 | 744 |
| 102RF-600-15-SB | CAP13GC295\_A | Radiator 1022 W x 600 H Black | Black | 0.3 | 744 |
| 102RF-600-15-SC | CAG13GA071\_A | Radiator 1022 W x 600 H Chrome | Chrome | 0.3 | 588 |
| 102RF-600-17-SA | CAP13GC266\_A | Radiator 1158 W x 600 H Anthracite | Anthracite | 0.3 | 844 |
| 102RF-600-17-SW | CAP13GC235\_A | Radiator 1158 W x 600 H White | White | 0.3 | 844 |
| 102RF-600-17-SB | CAP13GC296\_A | Radiator 1158 W x 600 H Black | Black | 0.3 | 844 |
| 102RF-600-17-SC | CAG13GA072\_A | Radiator 1158 W x 600 H Chrome | Chrome | 0.3 | 666 |
| 102RF-600-21-SA | CAP13GC267\_A | Radiator 1430 W x 600 H Anthracite | Anthracite | 0.3 | 1042 |
| 102RF-600-21-SW | CAP13GC236\_A | Radiator 1430 W x 600 H White | White | 0.3 | 1042 |
| 注册商标logo102RF-600-21-SB | CAP13GC297\_A | Radiator 1430 W x 600 H Black | Black | 0.3 | 1042 |
| 102RF-600-21-SC | CAG13GA073\_A | Radiator 1430 W x 600 H Chrome | Chrome | 0.3 | 823 |
| 102RF-600-6-DA | CAP13GC276\_A | Radiator 410 W x 600 H Anthracite | Anthracite | 0.3 | 545 |
| 102RF-600-6-DW | CAP13GC246\_A | Radiator 410 W x 600 H White | White | 0.3 | 545 |
| 102RF-600-6-DB | CAP13GC298\_A | Radiator 410 W x 600 H Black | Black | 0.3 | 545 |
| 102RF-600-9-DA | CAP13GC277\_A | Radiator 614 W x 600 H Anthracite | Anthracite | 0.3 | 818 |
| 102RF-600-9-DW | CAP13GC247\_A | Radiator 614 W x 600 H White | White | 0.3 | 818 |
| 102RF-600-9-DB | CAP13GC299\_A | Radiator 614 W x 600 H Black | Black | 0.3 | 818 |
| 102RF-600-11-DA | CAP13GC278\_A | Radiator 750 W x 600 H Anthracite | Anthracite | 0.3 | 1000 |
| 102RF-600-11-DW | CAP13GC248\_A | Radiator 750 W x 600 H White | White | 0.3 | 1000 |
| 102RF-600-11-DB | CAP13GC300\_A | Radiator 750 W x 600 H Black | Black | 0.3 | 1000 |
| 102RF-600-13-DA | CAP13GC279\_A | Radiator 886 W x 600 H Anthracite | Anthracite | 0.3 | 1181 |
| 102RF-600-13-DW | CAP13GC249\_A | Radiator 886 W x 600 H White | White | 0.3 | 1223 |
| 102RF-600-13-DB | CAP13GC301\_A | Radiator 886 W x 600 H Black | Black | 0.3 | 1264 |
| 102RF-600-15-DA | CAP13GC280\_A | Radiator 1022 W x 600 H Anthracite | Anthracite | 0.3 | 1363 |
| 102RF-600-15-DW | CAP13GC250\_A | Radiator 1022 W x 600 H White | White | 0.3 | 1363 |
| 102RF-600-15-DB | CAP13GC302\_A | Radiator 1022 W x 600 H Black | Black | 0.3 | 1363 |
| 102RF-600-17-DA | CAP13GC281\_A | Radiator 1158 W x 600 H Anthracite | Anthracite | 0.3 | 1545 |
| 102RF-600-17-DW | CAP13GC251\_A | Radiator 1158 W x 600 H White | White | 0.3 | 1545 |
| 102RF-600-17-DB | CAP13GC303\_A | Radiator 1158 W x 600 H Black | Black | 0.3 | 1545 |
| 102RF-600-21-DA | CAP13GC282\_A | Radiator 1430 W x 600 H Anthracite | Anthracite | 0.3 | 1908 |
| 102RF-600-21-DW | CAP13GC252\_A | Radiator 1430 W x 600 H White | White | 0.3 | 1908 |
| 102RF-600-21-DB | CAP13GC304\_A | Radiator 1430 W x 600 H Black | Black | 0.3 | 1908 |
| 102RF-1600-4-SA | CAP13GC268\_A | Radiator 274 W x 1600 H Anthracite | Anthracite | 0.3 | 474 |
| 102RF-1600-4-SW | CAP13GC237\_A | Radiator 274 W x 1600 H White | White | 0.3 | 474 |
| 102RF-1600-4-SB | CAP13GC305\_A | Radiator 274 W x 1600 H Black | Black | 0.3 | 474 |
| 102RF-1600-4-SC | CAG13GA074\_A | Radiator 274 W x 1600 H Chrome | Chrome | 0.3 | 374 |
| 102RF-1600-6-SA | CAP13GC269\_A | Radiator 410 W x 1600 H Anthracite | Anthracite | 0.3 | 710 |
| 102RF-1600-6-SW | CAP13GC239\_A | Radiator 410 W x 1600 H White | White | 0.3 | 710 |
| 102RF-1600-6-SB | CAP13GC306\_A | Radiator 410 W x 1600 H Black | Black | 0.3 | 710 |
| 102RF-1600-6-SC | CAG13GA075\_A | Radiator 410 W x 1600 H Chrome | Chrome | 0.3 | 561 |
| 102RF-1600-8-SA | CAP13GC270\_A | Radiator 546 W x1600 H Anthracite | Anthracite | 0.3 | 947 |
| 102RF-1600-8-SW | CAP13GC240\_A | Radiator 546 W x1600 H White | White | 0.3 | 947 |
| 10注册商标logo2RF-1600-8-SB | CAP13GC307\_A | Radiator 546 W x1600 H Black | Black | 0.3 | 947 |
| 102RF-1600-8-SC | CAG13GA076\_A | Radiator 546 W x1600 H Chrome | Chrome | 0.3 | 748 |
| 102RF-1600-10-SA | CAP13GC271\_A | Radiator 682 W x1600 H Anthracite | Anthracite | 0.3 | 1184 |
| 102RF-1600-10-SW | CAP13GC241\_A | Radiator 682 W x1600 H White | White | 0.3 | 1184 |
| 102RF-1600-10-SB | CAP13GC308\_A | Radiator 682 W x1600 H Black | Black | 0.3 | 1184 |
| 102RF-1600-10-SC | CAG13GA077\_A | Radiator 682 W x1600 H Chrome | Chrome | 0.3 | 935 |
| 102RF-1600-4-DA | CAP13GC283\_A | Radiator 274 W x1600 H Anthracite | Anthracite | 0.3 | 914 |
| 102RF-1600-4-DW | CAP13GC253\_A | Radiator 274 W x1600 H White | White | 0.3 | 914 |
| 102RF-1600-4-DB | CAP13GC309\_A | Radiator 274 W x1600 H Black | Black | 0.3 | 914 |
| 102RF-1600-6-DA | CAP13GC284\_A | Radiator 410 W x1600 H Anthracite | Anthracite | 0.3 | 1370 |
| 102RF-1600-6-DW | CAP13GC254\_A | Radiator 410 W x1600 H White | White | 0.3 | 1370 |
| 102RF-1600-6-DB | CAP13GC310\_A | Radiator 410 W x1600 H Black | Black | 0.3 | 1370 |
| 102RF-1600-8-DA | CAP13GC285\_A | Radiator 546 W x1600 H Anthracite | Anthracite | 0.3 | 1827 |
| 102RF-1600-8-DW | CAP13GC255\_A | Radiator 546 W x1600 H White | White | 0.3 | 1827 |
| 102RF-1600-8-DB | CAP13GC311\_A | Radiator 546 W x1600 H Black | Black | 0.3 | 1827 |
| 102RF-1600-10-DA | CAP13GC286\_A | Radiator 682 W x1600 H Anthracite | Anthracite | 0.3 | 2284 |
| 102RF-1600-10-DW | CAP13GC256\_A | Radiator 682 W x1600 H White | White | 0.3 | 2284 |
| 102RF-1600-10-DB | CAP13GC312\_A | Radiator 682 W x1600 H Black | Black | 0.3 | 2284 |
| 102RF-1800-4-SA | CAP13GC272\_A | Radiator 274 W x1800 H Anthracite | Anthracite | 0.3 | 529 |
| 102RF-1800-4-SW | CAP13GC242\_A | Radiator 274 W x1800 H White | White | 0.3 | 529 |
| 102RF-1800-4-SB | CAP13GC313\_A | Radiator 274 W x1800 H Black | Black | 0.3 | 529 |
| 102RF-1800-4-SC | CAG13GA078\_A | Radiator 274 W x1800 H Chrome | Chrome | 0.3 | 418 |
| 102RF-1800-6-SA | CAP13GC273\_A | Radiator 410 W x1800 H Anthracite | Anthracite | 0.3 | 793 |
| 102RF-1800-6-SW | CAP13GC243\_A | Radiator 410 W x1800 H White | White | 0.3 | 793 |
| 102RF-1800-6-SB | CAP13GC314\_A | Radiator 410 W x1800 H Black | Black | 0.3 | 793 |
| 102RF-1800-6-SC | CAG13GA079\_A | Radiator 410 W x1800 H Chrome | Chrome | 0.3 | 626 |
| 102RF-1800-8-SA | CAP13GC274\_A | Radiator 546 W x1800 H Anthracite | Anthracite | 0.3 | 1057 |
| 102RF-1800-8-SW | CAP13GC244\_A | Radiator 546 W x1800 H White | White | 0.3 | 1057 |
| 102RF-1800-8-SB | CAP13GC315\_A | Radiator 546 W x1800 H Black | Black | 0.3 | 1057 |
| 102RF-1800-8-SC | CAG13GA080\_A | Radiator 546 W x1800 H Chrome | Chrome | 0.3 | 835 |
| 102RF-1800-10-SA | CAP13GC275\_A | Radiator 682 W x1800 H Anthracite | Anthracite | 0.3 | 1321 |
| 102RF-1800-10-SW | CAP13GC245\_A | Radiator 682 W x1800 H White | White | 0.3 | 1321 |
| 102RF-1800-10-SB | CAP13GC316\_A | Radiator 682 W x1800 H Black | Black | 0.3 | 1321 |
| 102RF-1注册商标logo800-10-SC | CAG13GA081\_A | Radiator 682 W x1800 H Chrome | Chrome | 0.3 | 1044 |
| 102RF-1800-4-DA | CAP13GC287\_A | Radiator 274 W x1800 H Anthracite | Anthracite | 0.3 | 1024 |
| 102RF-1800-4-DW | CAP13GC257\_A | Radiator 274 W x1800 H White | White | 0.3 | 1024 |
| 102RF-1800-4-DB | CAP13GC317\_A | Radiator 274 W x1800 H Black | Black | 0.3 | 1024 |
| 102RF-1800-6-DA | CAP13GC288\_A | Radiator 410 W x1800 H Anthracite | Anthracite | 0.3 | 1535 |
| 102RF-1800-6-DW | CAP13GC258\_A | Radiator 410 W x1800 H White | White | 0.3 | 1535 |
| 102RF-1800-6-DB | CAP13GC318\_A | Radiator 410 W x1800 H Black | Black | 0.3 | 1535 |
| 102RF-1800-8-DA | CAP13GC289\_A | Radiator 546 W x1800 H Anthracite | Anthracite | 0.3 | 2047 |
| 102RF-1800-8-DW | CAP13GC259\_A | Radiator 546 W x1800 H White | White | 0.3 | 2047 |
| 102RF-1800-8-DB | CAP13GC319\_A | Radiator 546 W x1800 H Black | Black | 0.3 | 2047 |
| 102RF-1800-10-DA | CAP13GC290\_A | Radiator 682 W x1800 H Anthracite | Anthracite | 0.3 | 2559 |
| 102RF-1800-10-DW | CAP13GC260\_A | Radiator 682 W x1800 H White | White | 0.3 | 2559 |
| 102RF-1800-10-DB | CAP13GC320\_A | Radiator 682 W x1800 H Black | Black | 0.3 | 2559 |
| 102RO-600-7-SA | CAP32GC388\_A | Radiator 414 W x 600 H Anthracite | Anthracite | 0.6 | 304 |
| 102RO-600-7-SW | CAP32GC358\_A | Radiator 414 W x 600 H White | White | 0.6 | 304 |
| 102RO-600-7-SB | CAP32GC418\_A | Radiator 414 W x 600 H Black | Black | 0.6 | 304 |
| 102RO-600-10-SA | CAP32GC389\_A | Radiator 519 W x 600 H Anthracite | Anthracite | 0.6 | 434 |
| 102RO-600-10-SW | CAP32GC359\_A | Radiator 519 W x 600 H White | White | 0.6 | 434 |
| 102RO-600-10-SB | CAP32GC419\_A | Radiator 519 W x 600 H Black | Black | 0.6 | 434 |
| 102RO-600-13-SA | CAP32GC390\_A | Radiator 768 W x 600 H Anthracite | Anthracite | 0.6 | 564 |
| 102RO-600-13-SW | CAP32GC360\_A | Radiator 768 W x 600 H White | White | 0.6 | 564 |
| 102RO-600-13-SB | CAP32GC420\_A | Radiator 768 W x 600 H Black | Black | 0.6 | 564 |
| 102RO-600-17-SA | CAP32GC391\_A | Radiator 1004 W x 600 H Anthracite | Anthracite | 0.6 | 737 |
| 102RO-600-17-SW | CAP32GC361\_A | Radiator 1004 W x 600 H White | White | 0.6 | 737 |
| 102RO-600-17-SB | CAP32GC421\_A | Radiator 1004 W x 600 H Black | Black | 0.6 | 737 |
| 102RO-600-20-SA | CAP32GC392\_A | Radiator 1181 W x 600 H Anthracite | Anthracite | 0.6 | 867 |
| 102RO-600-20-SW | CAP32GC362\_A | Radiator 1181 W x 600 H White | White | 0.6 | 867 |
| 102RO-600-20-SB | CAP32GC422\_A | Radiator 1181 W x 600 H Black | Black | 0.6 | 867 |
| 102RO-600-24-SA | CAP32GC393\_A | Radiator 1417 W x 600 H Anthracite | Anthracite | 0.6 | 1040 |
| 102RO-600-24-SW | CAP32GC363\_A | Radiator 1417 W x 600 H White | White | 0.6 | 1040 |
| 102RO-600-24-SB | CAP32GC423\_A | Radiator 1417 W x 600 H Black | Black | 0.6 | 1040 |
| 102RO-600-27-SA | CAP32GC394\_A | Radiator 1594 W x 600 H Anthracite | Anthracite | 0.6 | 1170 |
| 102RO-600-27-SW | CAP32GC364\_A | Radiator 1594 W x 600 H White | White | 0.6 | 1170 |
| 102RO-注册商标logo600-27-SB | CAP32GC424\_A | Radiator 1594 W x 600 H Black | Black | 0.6 | 1170 |
| 102RO-600-7-DA | CAP32GC403\_A | Radiator 414 W x 600 H Anthracite | Anthracite | 0.6 | 564 |
| 102RO-600-7-DW | CAP32GC373\_A | Radiator 414 W x 600 H White | White | 0.6 | 564 |
| 102RO-600-7-DB | CAP32GC425\_A | Radiator 414 W x 600 H Black | Black | 0.6 | 564 |
| 102RO-600-10-DA | CAP32GC404\_A | Radiator 591 W x 600 H Anthracite | Anthracite | 0.6 | 806 |
| 102RO-600-10-DW | CAP32GC374\_A | Radiator 591 W x 600 H White | White | 0.6 | 806 |
| 102RO-600-10-DB | CAP32GC426\_A | Radiator 519 W x 600 H Black | Black | 0.6 | 806 |
| 102RO-600-13-DA | CAP32GC405\_A | Radiator 768 W x 600 H Anthracite | Anthracite | 0.6 | 1048 |
| 102RO-600-13-DW | CAP32GC375\_A | Radiator 768 W x 600 H White | White | 0.6 | 1048 |
| 102RO-600-13-DB | CAP32GC427\_A | Radiator 768 W x 600 H Black | Black | 0.6 | 1048 |
| 102RO-600-17-DA | CAP32GC406\_A | Radiator 1004 W x 600 H Anthracite | Anthracite | 0.6 | 1370 |
| 102RO-600-17-DW | CAP32GC376\_A | Radiator 1004 W x 600 H White | White | 0.6 | 1370 |
| 102RO-600-17-DB | CAP32GC428\_A | Radiator 1004 W x 600 H Black | Black | 0.6 | 1370 |
| 102RO-600-20-DA | CAP32GC407\_A | Radiator 1181 W x 600 H Anthracite | Anthracite | 0.6 | 1612 |
| 102RO-600-20-DW | CAP32GC377\_A | Radiator 1181 W x 600 H White | White | 0.6 | 1612 |
| 102RO-600-20-DB | CAP32GC429\_A | Radiator 1181 W x 600 H Black | Black | 0.6 | 1612 |
| 102RO-600-24-DA | CAP32GC408\_A | Radiator 1417 W x 600 H Anthracite | Anthracite | 0.6 | 1934 |
| 102RO-600-24-DW | CAP32GC378\_A | Radiator 1417 W x 600 H White | White | 0.6 | 1934 |
| 102RO-600-24-DB | CAP32GC430\_A | Radiator 1417 W x 600 H Black | Black | 0.6 | 1934 |
| 102RO-600-27-DA | CAP32GC409\_A | Radiator 1594 W x 600 H Anthracite | Anthracite | 0.6 | 2176 |
| 102RO-600-27-DW | CAP32GC379\_A | Radiator 1594 W x 600 H White | White | 0.6 | 2176 |
| 102RO-600-27-DB | CAP32GC431\_A | Radiator 1594 W x 600 H Black | Black | 0.6 | 2176 |
| 102RO-1600-4-SA | CAP32GC395\_A | Radiator 237 W x 1600 H Anthracite | Anthracite | 0.6 | 422 |
| 102RO-1600-4-SW | CAP32GC365\_A | Radiator 237 W x 1600 H White | White | 0.6 | 422 |
| 102RO-1600-4-SB | CAP32GC432\_A | Radiator 237 W x 1600 H Black | Black | 0.6 | 422 |
| 102RO-1600-6-SA | CAP32GC396\_A | Radiator 355 W x 1600 H Anthracite | Anthracite | 0.6 | 633 |
| 102RO-1600-6-SW | CAP32GC366\_A | Radiator 355 W x 1600 H White | White | 0.6 | 633 |
| 102RO-1600-6-SB | CAP32GC433\_A | Radiator 355 W x 1600 H Black | Black | 0.6 | 633 |
| 102RO-1600-8-SA | CAP32GC397\_A | Radiator 473 W x 1600 H Anthracite | Anthracite | 0.6 | 843 |
| 102RO-1600-8-SW | CAP32GC367\_A | Radiator 473 W x 1600 H White | White | 0.6 | 843 |
| 102RO-1600-8-SB | CAP32GC434\_A | Radiator 473 W x 1600 H Black | Black | 0.6 | 843 |
| 102RO-1600-10-SA | CAP32GC398\_A | Radiator 591 W x 1600 H Anthracite | Anthracite | 0.6 | 1054 |
| 102RO-1600-10-SW | CAP32GC368\_A | Radiator 591 W x 1600 H White | White | 0.6 | 1054 |
| 102R注册商标logoO-1600-10-SB | CAP32GC435\_A | Radiator 591 W x 1600 H Black | Black | 0.6 | 1054 |
| 102RO-1600-4-DA | CAP32GC410\_A | Radiator 237 W x 1600 H Anthracite | Anthracite | 0.6 | 819 |
| 102RO-1600-4-DW | CAP32GC380\_A | Radiator 237 W x 1600 H White | White | 0.6 | 819 |
| 102RO-1600-4-DB | CAP32GC436\_A | Radiator 237 W x 1600 H Black | Black | 0.6 | 819 |
| 102RO-1600-6-DA | CAP32GC411\_A | Radiator 355 W x 1600 H Anthracite | Anthracite | 0.6 | 1228 |
| 102RO-1600-6-DW | CAP32GC381\_A | Radiator 355 W x 1600 H White | White | 0.6 | 1228 |
| 102RO-1600-6-DB | CAP32GC437\_A | Radiator 355 W x 1600 H Black | Black | 0.6 | 1228 |
| 102RO-1600-8-DA | CAP32GC412\_A | Radiator 473 W x 1600 H Anthracite | Anthracite | 0.6 | 1638 |
| 102RO-1600-8-DW | CAP32GC382\_A | Radiator 473 W x 1600 H White | White | 0.6 | 1638 |
| 102RO-1600-8-DB | CAP32GC438\_A | Radiator 473 W x 1600 H Black | Black | 0.6 | 1638 |
| 102RO-1600-10-DA | CAP32GC413\_A | Radiator 591 W x 1600 H Anthracite | Anthracite | 0.6 | 2047 |
| 102RO-1600-10-DW | CAP32GC383\_A | Radiator 591 W x 1600 H White | White | 0.6 | 2047 |
| 102RO-1600-10-DB | CAP32GC439\_A | Radiator 591 W x 1600 H Black | Black | 0.6 | 2047 |
| 102RO-1800-4-SA | CAP32GC399\_A | Radiator 237 W x 1800 H Anthracite | Anthracite | 0.6 | 471 |
| 102RO-1800-4-SW | CAP32GC369\_A | Radiator 237 W x 1800 H White | White | 0.6 | 471 |
| 102RO-1800-4-SB | CAP32GC440\_A | Radiator 237 W x 1800 H Black | Black | 0.6 | 471 |
| 102RO-1800-6-SA | CAP32GC400\_A | Radiator 355 W x 1800 H Anthracite | Anthracite | 0.6 | 707 |
| 102RO-1800-6-SW | CAP32GC370\_A | Radiator 355 W x 1800 H White | White | 0.6 | 707 |
| 102RO-1800-6-SB | CAP32GC441\_A | Radiator 355 W x 1800 H Black | Black | 0.6 | 707 |
| 102RO-1800-8-SA | CAP32GC401\_A | Radiator 473 W x 1800 H Anthracite | Anthracite | 0.6 | 943 |
| 102RO-1800-8-SW | CAP32GC371\_A | Radiator 473 W x 1800 H White | White | 0.6 | 943 |
| 102RO-1800-8-SB | CAP32GC442\_A | Radiator 473 W x 1800 H Black | Black | 0.6 | 943 |
| 102RO-1800-10-SA | CAP32GC402\_A | Radiator 591 W x 1800 H Anthracite | Anthracite | 0.6 | 1178 |
| 102RO-1800-10-SW | CAP32GC372\_A | Radiator 591 W x 1800 H White | White | 0.6 | 1178 |
| 102RO-1800-10-SB | CAP32GC443\_A | Radiator 591 W x 1800 HBlack | Black | 0.6 | 1178 |
| 102RO-1800-4-DA | CAP32GC414\_A | Radiator 591 W x 1800 H Anthracite | Anthracite | 0.6 | 918 |
| 102RO-1800-4-DW | CAP32GC384\_A | Radiator 591 W x 1800 H White | White | 0.6 | 918 |
| 102RO-1800-4-DB | CAP32GC444\_A | Radiator 591 W x 1800 HBlack | Black | 0.6 | 918 |
| 102RO-1800-6-DA | CAP32GC415\_A | Radiator 355 W x 1800 H Anthracite | Anthracite | 0.6 | 1377 |
| 102RO-1800-6-DW | CAP32GC385\_A | Radiator 355 W x 1800 H White | White | 0.6 | 1377 |
| 102RO-1800-6-DB | CAP32GC445\_A | Radiator 355 W x 1800 H Black | Black | 0.6 | 1377 |
| 102RO-1800-8-DA | CAP32GC416\_A | Radiator 473 W x 1800 H Anthracite | Anthracite | 0.6 | 1836 |
| 102RO-1800-8-DW | CAP32GC386\_A | Radiator 473 W x 1800 H White | White | 0.6 | 1836 |
| 102RO-1800-8-D注册商标logoB | CAP32GC446\_A | Radiator 473 W x 1800 H Black | Black | 0.6 | 1836 |
| 102RO-1800-10-DA | CAP32GC417\_A | Radiator 591 W x 1800 H Anthracite | Anthracite | 0.6 | 2295 |
| 102RO-1800-10-DW | CAP32GC387\_A | Radiator 591 W x 1800 H White | White | 0.6 | 2295 |
| 102RO-1800-10-DB | CAP32GC447\_A | Radiator 591 W x 1800 H Black | Black | 0.6 | 2295 |
| 102TF-6540-7-A | CAP11GC173\_A | Radiator 400 W x 650 H Anthracite | Anthracite | 0.3 | 296 |
| 102TF-6540-7-B | CAP11GC183\_A | Radiator 400 W x 650 H Black | Black | 0.3 | 296 |
| 102TF-6540-7-C | CAG11GA104\_A | Radiator 400 W x 650 H Chrome | Chrome | 0.3 | 234 |
| 102TF-6540-7-W | CAP11GC163\_A | Radiator 400 W x 650 H White | White | 0.3 | 296 |
| 102TF-6550-7-A | CAP11GC178\_A | Radiator 500 W x 650 H Anthracite | Anthracite | 0.3 | 350 |
| 102TF-6550-7-B | CAP11GC188\_A | Radiator 500 W x 650 H Black | Black | 0.3 | 350 |
| 102TF-6550-7-C | CAG11GA105\_A | Radiator 500 W x 650 H Chrome | Chrome | 0.3 | 276 |
| 102TF-6550-7-W | CAP11GC168\_A | Radiator 500 W x 650 H White | White | 0.3 | 350 |
| 102TF-8045-8-A | CAP11GC174\_A | Radiator 450 W x800 H Anthracite | Anthracite | 0.3 | 376 |
| 102TF-8045-8-B | CAP11GC184\_A | Radiator 450 W x800 H Black | Black | 0.3 | 376 |
| 102TF-8045-8-C | CAG11GA106\_A | Radiator 450 W x800 H Chrome | Chrome | 0.3 | 297 |
| 102TF-8045-8-W | CAP11GC164\_A | Radiator 450 W x800 H White | White | 0.3 | 376 |
| 102TF-8060-8-A | CAP11GC179\_A | Radiator 600 W x800 H Anthracite | Anthracite | 0.3 | 468 |
| 102TF-8060-8-B | CAP11GC189\_A | Radiator 600 W x800 H Black | Black | 0.3 | 468 |
| 102TF-8060-8-C | CAG11GA107\_A | Radiator 600 W x800 H Chrome | Chrome | 0.3 | 370 |
| 102TF-8060-8-W | CAP11GC169\_A | Radiator 600 W x800 H White | White | 0.3 | 468 |
| 102TF-10045-9-A | CAP11GC175\_A | Radiator 450 W x1000 H Anthracite | Anthracite | 0.3 | 435 |
| 102TF-10045-9-B | CAP11GC185\_A | Radiator 450 W x1000 H Black | Black | 0.3 | 435 |
| 102TF-10045-9-C | CAG11GA108\_A | Radiator 450 W x1000 H Chrome | Chrome | 0.3 | 344 |
| 102TF-10045-9-W | CAP11GC165\_A | Radiator 450 W x1000 H White | White | 0.3 | 435 |
| 102TF-10060-9-A | CAP11GC180\_A | Radiator 600 W x1000 H Anthracite | Anthracite | 0.3 | 539 |
| 102TF-10060-9-B | CAP11GC190\_A | Radiator 600 W x1000 H Black | Black | 0.3 | 539 |
| 102TF-10060-9-C | CAG11GA109\_A | Radiator 600 W x1000 H Chrome | Chrome | 0.3 | 426 |
| 102TF-10060-9-W | CAP11GC170\_A | Radiator 600 W x1000 H White | White | 0.3 | 539 |
| 102TF-12045-12-A | CAP11GC176\_A | Radiator 450 W x1200 H Anthracite | Anthracite | 0.3 | 564 |
| 102TF-12045-12-B | CAP11GC186\_A | Radiator 450 W x1200 H Black | Black | 0.3 | 564 |
| 102TF-12045-12-C | CAG11GA110\_A | Radiator 450 W x1200 H Chrome | Chrome | 0.3 | 445 |
| 102TF-12045-12-W | CAP11GC166\_A | Radiator 450 W x1200 H White | White | 0.3 | 564 |
| 102TF-12060-12-A | CAP11GC181\_A | Radiator 600 W x1200 H Anthracite | Anthracite | 0.3 | 702 |
| 102TF-12060-12-B | CAP11G注册商标logoC191\_A | Radiator 600 W x1200 H Black | Black | 0.3 | 702 |
| 102TF-12060-12-C | CAG11GA111\_A | Radiator 600 W x1200 H Chrome | Chrome | 0.3 | 555 |
| 102TF-12060-12-W | CAP11GC171\_A | Radiator 600 W x1200 H White | White | 0.3 | 702 |
| 102TF-16045-15-A | CAP11GC177\_A | Radiator 450 W x1600 H Anthracite | Anthracite | 0.3 | 717 |
| 102TF-16045-15-B | CAP11GC187\_A | Radiator 450 W x1600 H Black | Black | 0.3 | 717 |
| 102TF-16045-15-C | CAG11GA112\_A | Radiator 450 W x1600 H Chrome | Chrome | 0.3 | 566 |
| 102TF-16045-15-W | CAP11GC167\_A | Radiator 450 W x1600 H White | White | 0.3 | 717 |
| 102TF-16060-15-A | CAP11GC182\_A | Radiator 600 W x1600 H Anthracite | Anthracite | 0.3 | 890 |
| 102TF-16060-15-B | CAP11GC192\_A | Radiator 600 W x1600 H Black | Black | 0.3 | 890 |
| 102TF-16060-15-C | CAG11GA113\_A | Radiator 600 W x1600 H Chrome | Chrome | 0.3 | 703 |
| 102TF-16060-15-W | CAP11GC172\_A | Radiator 600 W x1600 H White | White | 0.3 | 890 |